## Feb - 16
SAFETY COMMITTEE MEETING REPORT - Mar 2017
Safety Committee Meeting was conducted on Wednesday , 22nd Mar 2017 in Conference Hall at 15.15 hrs., chaired by Aniruddha Bansod .
Committee members present :
1 Mr Rahul Kadam (EHS) |  | 11 Mr Amankumar Jha (Mech Maint)
2 Mr Alok Kewat (Inst) |  | 12 Mr Mrugesh Jiradkar (CGS)
3 Mr Ravindra Nikam (Inst) |  | 13 Mr Varun Rai (Electrical)
4 Mr Mahesh Fadtare (Utility) |  | 14 Mr Bhaiyasaheb Pawar ( R& D)
5 Mr Rajendra Nagaonkar (EHS) |  | 15 Mr Joseph Sathe (Purchase)
6 Mr Pradeep Soshte (EHS) |  | 16 Mr Joseph Sathe (Purchase)
7 Mr Rakesh Shedge (Utility) |  | 17 Mr Sunil Katekari (EHS)
8 Mr Shubham Mane (FAP)
9 Mr Vishwas Adsul (Pastillator)
10 Mr Suryakant Nikam ( Security)
Monthwise Sr. No. | Point Discussed | Point Raised by | Responsibility / Recommended Action | Status
May. 4 | New TF No.4 to operate hot water line valve ,platfarm required. | Shivaji Kale | Mech Maintenance. Amankumar | In progress 3 out of 9 completed.
Jul. 1 | No platform or any supporing system for adding chemicals in cooling tower basin. 10th Floor DFA . | Subhash Govardhane | Rohidas to provide necessary arrangement . | Platform fabrication is completed, erection is pending.
Jul. 2 | Hose reel provision at DFA ground floor required to handle minor fire or smoke issue. | Bhauso Gurgude | Security / EHS | In progress.
Aug.11 | Handle provision is not available for monkey ladder where it rest on 2nd floor of coal crusher shed. | Alok Kewat | Rohidas Ninawe | Pending. Handles are ready, installation pending. Needs shut down.
Oct. 1 | Wheel jack is not being used while replacing the forklift wheel. | Varun Rai | Amankumar Jha | 4 quotations required, 1 awaited.
Nov. 2 | Acid/Alkali proof apron required in Utility for chemical handling. | Harpreet Singh | EHS . Pradeep Soshte | Apron & suite received. Provided to Utility . Completed.
Nov. 7 | FAP cooling tower - ladder nut bolts corroded heavily. | Harpreet Singh | Rohidas | Paining work completed.
Nov. 8 | Backwash water trench to be covered near DM water plant area. | Harpreet Singh | Rohidas | Water trench covered. Completed
Nov. 12 | Tank 827 top - header modification, Ladder to be provided to tank 825 | Rohan Jadhav, Tejas Naik | Rohidas | In progress.
Dec. 1 | DFA to loop reactor, at 3rd floor staircase is damaged. | Amankumar | Rohidas | Staircase repaired. Completed.
Jan. 1 | DFA 7th floor cage required for cooling tower ladder. | Amankumar | Rohidas | In progress
Feb. 1 | At DFA 8th & 9th floor fire hydrant system is not available. | Rohan Jadhav | Security/EHS | In progress
2017-03-01
Month-wise Sr. No. | Point Discussed | Point Raised by | Responsibility / Recommended Action | Status
Mar. 1 | Utility(Old Boiler House) cable trench cover (MS plate) corroded. | Rakesh Shedge | Subhash Goverdhane to check.
Mar. 2 | CPP RCC staircase damaged. | Alok Kewat | Subhash Goverdhane to check.
Mar. 3 | Clamps required for cylinders in R & D. | Bhaiyasaheb Pawar | Sushant Desai to check & provide the clamps.
Mar. 4 | Cage required for monkey ladder in CPP & Old Boiler Area. | Mahesh Fadtare | Subhash Goverdhane & Rohidas Ninawe to check.
Mar. 5 | Mosquito nuisance is increased in overall plant area. | General Point | HR / EHS to initiate Pest Control for the same. | Pest control specially for mosquito has done on 23rd Apr 2017.
Note on A26: Dhairyasheel Shinde: No meeting, only checklist points

## Completed
Sr. No. | Monthwise Sr. No. | Point Discussed | Point Raised by | Responsibility / Recommended Action | Status
1 | 2012-06-01 | Pastillator - AHU trey water flooding, forklift may slip over. | Vishwas Adsul | Vishwas Adsul . To prepare & follow the cleaning schedule . | Nitrate insolation work done for all AHU's. Cleaning schedule prepared by Pastillator.
2 | May. 2 | Bottom draining facility inadequet for Tank No 856/57/58 at TF No 2. | Bhauso Gurgude | Mr Sahu/Rafi. | Taken on main line up, no need to go inside the pipe trangle. Completed.
3 | June.17 | No provision of platform to operate valves of C - 301 at 5th floor.DFA | Mrugesh Jiradkar | Civil. Working plateform required. | Completed. Plateform provided.
4 | Oct. 5 | Tankfarm 5 - No proper approch to manholes due to coal crusher shed. | Shivaji Kale | R Sahu / R Jadhav | Completed. Two line modification work done.
5 | July. 3 | Pathway provision for GDP MCC Room to GDP & Hot Oil to Fatty Alcohol Plant. | Rajesh Patil | Electric Dept. | Pathway provided. Completed.
6 | Feb. 3 | Hot Oil Building - 4th floor - improper gratting. | Ravindra Nikam | Ravi Sonkamble. | Gratting replaced with new one. Completed.
7 | Feb. 4 | Hot water falls between DFA & Pastillator godown, difficult to work for Electrical Maintenance. | Varun Rai | Tejas Naik | Completed. Total 80 no.s of points covered.
8 | Oct. 9 | Water provision at tankform top in case of chemical flash or in case of leakage/spillage | Manglesh Pathak | Yogesh Sama. | Completed. Fire hydrant line provided at the top of Tankfar.
9 | Apr. 1 | DFA air conditioner location to be change, currently during maintenance od ac's difficult to operate DCS system & also unsafe as scaffolding requires during maintenance. | Bhauso Gurgude | Satish Jadhav. Relocation of ac's to appropriate locations. | Relocation done. Completed.
10 | Apr. 2 | Safety checklist hard copy should be provided to each members so that he will not miss to submit filled copy to EHS. | Vishwas Adsul | Dhairyasheel Shinde. To provide 12 copies to each member. | Provided.
11 | Apr. 5 | No identification for Manual Call Points. | Vishwas Adsul | EHS / Electrical | Area owner should train & ensure his personnels for MCP locations in his plant.
12 | Apr. 6 | Emergency door provision to CPP filter Stroage room. | Swapnil Sali | Ravi Sonkamble. To provide emenrgency door. | Emergency door provided. Completed.
13 | Apr. 7 | Permnant plateform required for GT filter cleaning activity. | Swapnil Sali | Civil. Working plateform to provide. | Not required, scaffolding to be provided on as & when required basis.
14 | Apr. 8 | Catalyst drums provided to Poly Glycerol collection contains traces of Copper Catalyst. | Mrugesh Jiradkar | Amit Vardam. After drum decontamination only , drums to be provided to CGS | Generator should ensure decontamination of drums/barrels before handing over to HR for sale or reuse.
15 | May. 1 | DFA Flaker enough ventilation required. | Vishwas Adsul | Ajay Kumbhar to check. | New Emergency Door is provided, and now enogh ventilation is availabe there.
16 | May. 2 | Godown No. 2 - Oil Seepage from wall towards DFA. | Gopal Sawant | Ravi Sonkamble to arrest the seepage. | Completed. Civil work done.
17 | May. 5 | CHP MCC room emergency exit not avilable | Varun Rai | EHS to check | Emergency window provided.
18 | May. 6 | Stripper cooling tower ladders are not provided with cage. | Anil Kokate | EHS / FAP to check | Cage provided. Completed.
19 | May. 7 | Infront of store drain concreat block broken condition & overflow condition area slippery | Prakash Sable | Ravi Sonkamble | Concreat block replced with new one. Completed.
20 | Jun. 1 | Boiler House top sheet broken & can fall anytime cause accident | Satish Adake | Ravi Sonkamble | Attended. Completed.
21 | Jun. 4 | Iron Rod has came out on road in upward direction | Suryakant Nikam | Rohidas Ninawe. | The rods which were exposed open ended are now removed.
22 | Jun. 6 | For safely maintenance of forklift, ramp is required. It is very unsafe and difficult to work without ramp .We faced problem at the time of motor maintenance. | Varun Rai | Ramp to be provided. Ravi Sonkamble | Ramp provided.
23 | May. 3 | Improper drain sytem for thermic fluid pumps above DFA Control Room. | Bhauso Gurgude | Dinesh Danav to check | Complted. Drain provided.
24 | Apr. 4 | Wooden boxes of coloum packings are damaged & it is risk to parked vehicles or anybody working nearby. | Rahul Kadam | Ganesh Pillai. Square bar frame or boxes to be made in place of wooden boxes. | Completed. Old wooden boxes are replaced with new MS bar boxes.
25 | Jun. 2 | FAP cooling Tower fan area - dressing of cables needed. | Christoper Quadros | Satish Jadhav | Completed. Proper cable dressing done.
26 | Jun. 3 | CGS staircase - First floor - on/off valve damaged, hose reel can't be used. | Rahul Kadam | R P Singh . Valve to be replaced with new one. | Completed. Valve replaced with new one.
27 | Jul. 3 | DFA 7th floor & Jutasama 7th to 10th floor eye washer & safety shower not available. | Amankumar Jha & Bhauso Gurgude | Pradeep Soshte. Eye wash box to be provided. | Eye shower at 7th floor provided.
28 | Aug. 1 | DFA Substation - Rain water drain pipes are hanging & one of pipe is kept on parapet which may fall on ground. | Prakash Sable | Rohidas Ninawe. To repair all rain water drain pipes of DFA substation. | Completed. Rain water pipe work done.
29 | Aug.5 | Scrap wooden materal including MS pieces & nails left over after transfering column packings from wooden boxes to MS frams | Rahul Kadam | Amit Vardam . To clean the area by housekeeping team. | Completed.
30 | Aug.7 | MS barricades provided on roads to restrict vehicle entry should be taken care by area owners. Many times barricades kept on the one of road & vehicle enters in No Entry Zone. | EHS | Fatty Alcohol, Hydrogen | Respective incharges to insure the barricades are on its placall the time.
31 | Aug.8 | Empty catalyst drums from Fatty Alcohol to be handover to Amit Vardam after Drum Decontamination by owner Dept. | Amit Vardam | Rajan Jain | Drum de-contamination will be done by generator department.
32 | Aug. 9 | Use of stacker for work at height . | Varun Rai | Jaywant Pawar | Discussed with project team for not using stacker/forklift for unsafe work.
33 | May. 3 | Improper drain sytem for thermic fluid pumps above DFA Control Room. | Bhauso Gurgude | Dinesh Danav to check | Completed. Drain provided.
34 | Jun. 5 | New T/F no.4 electric cable not fitted with tray , may cut or short circuit | Shivaji Kale | Satish Jadhav | Cable dressign done.
35 | Jun. 7 | CPP cooling tower monkey ladder railing required. | Varun Rai | Ravi Sonkamble.Railing to be provided for monkey ladder. | Handrail provided. Completed.
36 | Aug. 2 | Slippery area at DFA top floor. | Tejas Naik | Rohidas Ninawe. To provide the grattings for pathway. | Discussed with Dinesh Danav. To provide grattings is high cost, therefore if good housekeeping maintained, slippery condition will be get avoided.
37 | Sept. 2 | At CPP, paging announcment is not audible at top & ground floor area. | Harpreet Singh | Satish Jadhav | Speaker provided. Completed.
38 | Sept. 3 | CPP - Uneven walkway at NG Skid. | Harpreet Singh | Rohidas Ninawe | Gratting work completed.
39 | Sept. 4 | To check the water spinkler system at Hydrogen Filling area in auto mode. | Satish Adake | Hydrogen & EHS | Manual checks are at place , for auto check , this check may taken during long shutdown & subject to availability of spares like bulb.
40 | Sept. 5 | Old Boiler Area - Roof sheets of Old Boiler Shed are in loose condition. | Satish Adake | Rohidas Ninawe | Proper dressing of shed sheets are done.
41 | Sept. 7 | Dyandeep & nearby panel room to be checked for healthyness for floor fall ceiling. | EHS | Rohidas Ninawe | False flooring is repaired. Completed.
42 | Apr. 9 | Tankfarm No. 5 - railing on tank no 832 is in incomplete condition, required to complete the same. | Shivaji Kale | Civil. Drain cover & railing to provide. | Completed.
43 | Aug. 3 | JST/C-303 indirect cooling tower - Return water header is located in staircase, possibility of head injury. | Mrugesh Ziradkar | Civil/EHS/CGS | Completed. Sign board displayed.
44 | Aug. 4 | Cage required for monkey ladder provided for Alcohol raw water meter | Rakesh Shedge | Civil to provide cage for the ladder. | Completed. Cage and side platform railing provided.
45 | Aug.6 | Gratting staircase to be coloured for better visibility while walking there. On experimental basis, one staircase to be coloured with specific colours. | Ashokrao Patil | Rohidas Ninawe | Completed.
46 | Aug.10 | Near conveyer belt area, hole made for pipe of Dust Extraction System has not covered. | Alok Kewat | Rohidas Ninawe | Cover provided, during housekeeping it is mis-placed.
47 | Sept. 6 | ETP - ETP operator faces heavy Mosquito & insect bites . Cabin required. | Rahul Kadam | Rohidas Ninawe | Completed . Cabin provided.
48 | Oct. 2 | Difficult to enter in CO2 & H2 analyser because of the trey. | Alok Kewat | Vishwas Adsul | Instrument person to intimate his entry time to Pastillator. Pastillator will remove the trey during the work.
49 | Oct. 4 | On some company identity cards, blood groups are wrong. | Mrugesh Ziradkar | Amit Vardam . To provide identity cards with right blood groups. | HR has taken back the cards with wrong blood group status and issued new cards with correct blood groups.
50 | Oct. 5 | Peroni pump civil foundation to be repaired. | Anil Kokate | Rohidas Ninawe. Civil foundation repair. | Flooring done. Completed.
51 | Dec. 2 | TF no.4 820 & 828 while bootom valve opening ,not suffcient light when steam is on ,require provision to overcome this situation. | Shivaji Kale | Electrical. Varun Rai | Local lights will be provided. In addition, torch is recommended while working there.
52 | Sept. 1 | New Tankfarm - Barricading required to pumps(P-7100 A&B) which are very close to road, tanker may heat these pumps. Near Tank No 819. | Cristopher Quodras | Raffi Koya | Railing provided. Ompleted.
53 | Oct. 3 | Required ladder from Jutasama 2nd floor to New boiler area for maintenance work. Also needs to do housekeeping. | Rajesh Patil |  | Staircase provision done. Completed.
54 | Nov. 1 | Transport people are coming from Stroes to Accounts dept.s wihtout PPE's & are not following fix route. | Alok Kewat | EHS. Fix Route - Stores-GDP-Gate No2 - Old TF - Security watch tower - Admin building. Route display board. Pradeep Soshte | Completed. Route display plan is provided in Engineering Stores.
55 | Nov. 3 | Company bus internal luggage carrier has not sufficent height, may lead to head injury. | Harpreet Singh | HR. Amit Vardam | As per RTO standard. Due to road condition this may happen. Driven awareness is done by Amit Vardam.
56 | Nov. 4 | CPP cooling tower area - needs to change ladder direction. | Harpreet Singh | Rohidas | Handle provided, no need to change the direction. Exisiting location is safe.
57 | Nov. 5 | CPP area – To take NG flow meter readings , ladder direction needs to change as flow meter approach is not proper with existing ladder direction. | Alok Kewat | CPP Harpreet Singh to check & raise the point to Civil Dept. | Shut down required. Taken on civil to do list for next shutdown.
58 | Nov. 6 | Project store 1st & mezzanine floor opening- required hand railing | Varun Rai | Rohidas | Completed. Barrication provided.
59 | Nov. 09 | Substation - emergency door to battery room | Varun Rai | Rohidas | Completed. Emergency door provided.
60 | Nov. 10 | Fatty Alc plant - earthing patti refitting pending | Shubham Mane | Varun Rai | Completed. Unwanted earthing patti removed.
61 | Nov. 11 | Painting of fire hydrant line in Fatty Alc plant not carried out by civil dept during shut down | Shubham Mane | Rohidas | Completed. Painting done.
Note on C54: Dhairyasheel Shinde: No meeting , only checklist points

## Annual Status
2016-17
Sr. No | Months | Points Discussed | Action Completed | In progress | Pending | Total
1 | Privious yr points | 8 | 8 | 0 | 0 | 8
2 | 2016-04-01 | 9 | 9 | 0 | 0 | 9
3 | 2016-05-01 | 7 | 7 | 0 | 0 | 7
4 | 2016-06-01 | 7 | 6 | 1 | 0 | 7
5 | 2016-07-01 | 3 | 1 | 2 | 0 | 3
6 | 2016-08-01 | 11 | 10 | 1 | 0 | 11
7 | 2016-09-01 | 7 | 7 | 0 | 0 | 7
8 | 2016-10-01 | 5 | 4 | 1 | 0 | 5
9 | 2016-11-01 | 12 | 8 | 4 | 0 | 12
10 | 2016-12-01 | 2 | 1 | 1 | 0 | 2
11 | 2017-01-01 | 1 | 0 | 1 | 0 | 1
12 | 2017-02-01 | 1 | 0 | 1 | 0 | 1
13 | 2017-03-01 | 5 | 1 | 4 | 0 | 5
| Total | 78 | 62 | 16 | 0 | 78
Note on D11: Dhairyasheel Shinde: No meeting, points from checklist.
Note on D17: Dhairyasheel Shinde: No meeting points from checklist