## Sheet1
COAL FURNACE THERMOWELL DETAILS_2016--In future new insertion length required==800 MM
SR.NO. | TAG NAME | SHEATH LENGTH | CONNECTION | PO NO | RAMARK-1 | RAMARK-2
1 | A-TT-7-1 | 700 MM | 3/4” NPT (M) | PO NO:3000032424 DATED 08.07.2016(Thermal Instrument)--SAP CODE:1302477 | Inconel-600,Tube Size : 19mm OD x 10mm ID x 4.5mm WT) | New Thermowell(protection tube + thermocouple) installed at this location as on 09.03.2017,found okay
2 | A-TT-7-2 | 700 MM | 3/4” NPT (M) |  | Inconel-600,Tube Size : 19mm OD x 10mm ID x 4.5mm WT) | New Thermowell(protection tube + thermocouple) installed at this location as on 09.03.2017,working okay
3 | A-TT-7-3 | 700 MM | 3/4” NPT (M) |  | Inconel-600,Tube Size : 19mm OD x 10mm ID x 4.5mm WT) | Physical checked found okay as on 09.03.2017,found okay
4 | A-TT-7-4 | 700 MM | 3/4” NPT (M) |  | Inconel-600,Tube Size : 19mm OD x 10mm ID x 4.5mm WT) | Physical checked found okay as on 09.03.2017,found okay
5 | B-TT-7-1 | 700 MM | 3/4” NPT (M) |  | Inconel-600,Tube Size : 19mm OD x 10mm ID x 4.5mm WT) | New Thermowell(protection tube + thermocouple) installed at this location as on 15.10.2016,found okay
6 | B-TT-7-2 | 700 MM | 3/4” NPT (M) |  | Inconel-600,Tube Size : 19mm OD x 10mm ID x 4.5mm WT) | New Thermowell(protection tube + thermocouple) installed at this location as on 31.08.2016,found okay
7 | B-TT-7-3 | 700 MM | 3/4” NPT (M) |  | Inconel-600,Tube Size : 19mm OD x 10mm ID x 4.5mm WT) | Physical checked found okay as on 31.08.2016,,found okay
8 | BTT-7-4 | 700 MM | 3/4” NPT (M) |  | Inconel-600,Tube Size : 19mm OD x 10mm ID x 4.5mm WT) | Physical checked found okay as on 31.08.2016,,found okay
Note on C4: In future new insertion length required==800 MM