## Sheet1
Beads Project
Beads Mechanical approved budget INR |  |  |  | 1536400
Cost saving by using existing store material INR |  |  |  | 86440
Total cost saving in percentage |  |  |  | 5.6261
Sr.No. | Equipment F/T | Line No | Spec | Item | Moc | Size (NB) | Sch/Rating | Material Std | Dimension Std | Required Qty. | Store Qty | MOC | Unit Price | Cost saving
1 | P C16/18 Suction | 40-FA-16001-BEA-IT | BEA | Elbow | SS | 50 | S10 | A403 WPW304 | Welded/BE B16.9 | 6 | 6 | SS 304 | 75 | 450
2 | P C16/18 Suction | 40-FA-16001-BEA-IT | BEA | Flange | SS | 80 | 150 | A182F304 | SORF B16.5 | 2 | 2 | SS 304 | 1700 | 3400
3 | P C16/18 Suction | 40-FA-16001-BEA-IT | BEA | Flange | SS | 50 | 150 | A182F304 | SORF B16.5 | 4 | 4 | SS 304 | 950 | 3800
4 | P C16/18 Suction | 40-FA-16001-BEA-IT | BEA | Ball Valve | SS | 80 | 150 | A351Gr.CF8 other ss | B16.10 Flange to B16.5 | 3 | 3 | A351 CF8 | 6000 | 18000
5 | P C16/18 Suction | 40-FA-16001-BEA-IT | BEA | Ball Valve | SS | 50 | 150 | A351Gr.CF8 other ss | B16.10 Flange to B16.5 | 1 | 1 | A351 CF8 | 3000 | 3000
6 | P C16/18 S&D line tracing | Steam Tracing |  | Flange | CS | 1/2" | 150 | IS 2062 | Plate flange suit to 12.5mm ID B16.5 | 10 | 10 | CS | 85 | 425
7 | P C16/18 S&D line tracing | Steam Tracing |  | Gate valve | CS | 15 | 800 | A105 | SW B16.11 | 3 | 3 | GTVA105 SW 800 | 850 | 2550
8 | P C16/18 S&D line tracing | Steam Tracing |  | Steam Trap | CS | 15 | 800 | A105 inbuilt strainer | TD-3, A743Gr.CA40Disc,AISI420seat disc hardened | 2 | 2 | PT-17 pennant | 1200 | 1200
9 | P 1601A/B Suction |  | BEA | Ball Valve | SS | 15 | 150 | A351Gr.CF8 other ss | B16.10 Flange to B16.5 | 4 | 4 | A351 CF8 | 1450 | 5800
10 | P 1601A/B S line Tracing | Steam Tracing |  | Flange | CS | 1/2" | 150 | IS 2062 | Plate flange suit to 12.5mm ID B16.5 | 5 | 5 | CS | 85 | 425
11 | P 1601A/B S line Tracing | Steam Tracing |  | Gate valve | CS | 15 | 800 | A105 | SW B16.11 | 3 | 3 | GTVA105 SW 800 | 850 | 2550
12 | P 1601A/B S line Tracing | Steam Tracing |  | Steam Trap | CS | 15 | 800 | A105 inbuilt strainer | TD-3, A743Gr.CA40Disc,AISI420seat disc hardened | 2 | 2 | PT-17 pennant | 1200 | 1200
13 | P 1601A/B Discharge | 25-FA-16015/16/02/03 BEA -IT | BEA | Pipe | SS | 25 | S10 | A312 TP304 | Welded/BE B36.19 | 24 | 24 | SS 304 | 450 | 10800
14 | P 1601A/B Discharge | 25-FA-16015/16 BEA -IT | BEA | Ball Valve | SS | 15 | 150 | A351Gr.CF8 other ss | B16.10 Flange to B16.5 | 2 | 2 | A351 CF8 | 1450 | 2900
15 | P 1601A/B Discharge | 25-FA-16015/16 BEA -IT | BEA | Tee | SS | 25x15 | S10 | A403 WPW304 |  | 2 | 2 | SS 304 S40 | 165 | 330
16 | P 1601A/B D line Tracing | Steam Tracing |  | Gate valve | CS | 15 | 800 | A105 | SW B16.11 | 6 | 6 | GTVA105 SW 800 | 850 | 5100
17 | P 1601A/B D line Tracing | Steam Tracing |  | Steam Trap | CS | 15 | 800 | A105 inbuilt strainer | TD-3, A743Gr.CA40Disc,AISI420seat disc hardened | 2 | 2 | PT-17 pennant | 1200 | 1200
18 | P 1601A/B D line Tracing | Steam Tracing |  | Flange | CS | 1/2" | 150 | IS 2062 | Plate flange suit to 12.5mm ID B16.5 | 5 | 5 | CS | 85 | 425
19 | Instrument Air | 25-IA-16010-BBA | BBA | Elbow | GI | 25 |  | A234 Gr.WPB | Welded/BE B16.9 | 12 | 9 | GI BW | 45 | 225
20 | Instrument Air | 25-IA-16010-BBA | BBA | Ball Valve | CS | 25 | 150 | Full bore BV, three piece | Flanged to B16.5 | 2 | 2 | GTV SS CF8 150 FE | 1800 | 3600
21 | LP Steam | 40-LPS-16019-BBC-IH | BBC | Gate valve | CS | 40 | 150 | A105 | Flanged to B16.5 | 2 | 2 | GT/GL A105 SW 800 | 1400 | 2800
22 | LP Steam | 15-LPS-16018-BBC-IH | BBC | Elbow | CS | 15 | 3000 | A105 | SW B16.11 | 6 | 6 | A105 SW | 25 | 150
23 | LP Steam |  | BBC | Gate valve | CS | 15 | 150 | A105 | Flanged to B16.5 | 6 | 6 | A105 SW 800 | 850 | 5100
24 | LP Steam |  | BBC | Flange | CS | 15 | 150 | A105 | SWRF B16.5 | 12 | 12 |  | 110 | 1320
25 | LP Steam |  | BBC | Steam Trap | CS | 15 | 800 | A105 inbuilt strainer | TD-3, A743Gr.CA40Disc,AISI420seat disc hardened | 1 | 1 | PT-17 pennant | 1200 | 1200
26 | P1602A/B suction | 25-HWS-16013/14-BBC-IH | BBC | Tee | CS | 25x25 | 3000 | A105 | SW B16.11 | 1 | 1 | CS | 180 | 180
27 | P1602A/B suction | 25-HWS-16013/14-BBC-IH | BBC | Tee | CS | 25x15 | 3000 | A105 | SW B16.11 | 2 | 2 | CS | 165 | 330
28 | P1602A/B suction | 25-HWS-16013/14-BBC-IH | BBC | Flange | CS | 25 | 150 | A105 | SW B16.5 | 11 | 1 | A105 SW 150 | 140 | 140
29 | P1602A/B suction | 25-HWS-16013/14-BBC-IH | BBC | Strainer | CS | 25 | 150 | A105 | Basket type ,Flanged to B16.5 | 2 | 2 | CS Y type FE150 | 800 | 1600
30 | P1602A/B Discharge | 25-HWS-16004/5/11/12-BBC-IH | BBC | Flange | CS | 25 | 150 | A105 | SW B16.5 | 14 | 14 | A105 SW 150 | 140 | 1960
31 | Condensate Recovery |  |  | Flange | CS | 50 | 150 | A105 | SWRF B16.5 | 2 | 2 |  | 270 | 540
32 | Condensate Recovery |  |  | Pipe | CS | 15 | S40 | IS 1239-I | PE/B36.10 | 30 | 30 | ERW S40 | 68 | 2040
33 | Condensate Recovery |  |  | Elbow | CS | 15 | 3000 | A105 |  | 20 | 20 | A105 SW | 25 | 500
34 | Condensate Recovery |  | BBC | Steam Trap | CS | 15 | 800 | A105 inbuilt strainer | TD-3, A743Gr.CA40Disc,AISI420seat disc hardened | 2 | 2 | PT-17 pennant | 1200 | 1200

## Sheet2
Purchase Order | Material | Short Text | Quantity Ordered | Unit of Measure | Total Value | Requisitioner
3000036307 | 1325272 | SS FLOAT VALVE 1" BALL TYPE BSPT END | 0 | NOS | 0 | S.kundu
3000029797 | 1324317 | HW PUMP P-1602,Q-15M3/H,H-25M | 1 | NOS | 11900 | S.KUNDU
3000029797 | 1324318 | CHW PUMP P-1603,Q-35M3/H,H-45M | 1 | NOS | 19000 | S.KUNDU
3000029797 | 1301953 | MOTOR 9.3 KW 2 POLE | 1 | NOS | 21000 | S.KUNDU
3000029797 | 1324319 | MECHANICAL SEAL P-1603 | 1 | NOS | 12000 | S.KUNDU
3000029797 | 1301926 | MOTOR 3.7 KW 2 POLE | 1 | NOS | 7900 | S.KUNDU
3000029797 | 1309476 | PUMP ACCESSORIES | 1 | SET | 5000 | S.KUNDU
3000029797 | 1309476 | PUMP ACCESSORIES | 1 | SET | 7000 | S.KUNDU
3000028887 | 1309476 | PUMP ACCESSORIES | 1 | SET | 5000 | S.KUNDU
3000028887 | 1324288 | PUMP CENTRIFUGAL BEADS Q=2.6 M3/HR H=20M | 1 | NOS | 29190 | S.KUNDU
3000028887 | 1320213 | MOTOR,2 HP,2 POLE,FRAME:ND 90 S,INS CL.F | 1 | NOS | 5770 | S.KUNDU
3000028887 | 1324295 | MECHANICAL SEAL BEADS Q=2.6 M3/HR H=20M | 1 | NOS | 16500 | S.KUNDU
3000028647 | 1312039 | VALVE BALL CS FE 1" 150# | 2 | NOS | 2435.76 | S.KUNDU
3000028663 | 1304626 | ELBOW CS 3" ERW SCH40 | 40 | NOS | 10080 | S.KUDNU
3000028663 | 1306389 | FLANGE CS SWRF 1/2" 150# | 4 | NOS | 400 | S.KUNDU
3000028663 | 1314858 | FLANGE CS A105 SWRF 1" 150# | 4 | NOS | 600 | S.KUNDU
3000028638 | 1315207 | PIPE CS IS1239 3" ERW CLASS HEAVY | 240 | M | 106080 | S.KUNDU
3000028560 | 1305263 | STUD A193GR.B7/A194GR.2H 5/8"X90MM | 100 | NOS | 3250 | S.KUNDU
3000028560 | 1305241 | STUD A193GR.B7/A194GR.2H 1/2"X75MM | 600 | NOS | 12000 | S.KUNDU
3000028560 | 1305239 | STUD A193GR.B7/A194GR.2H 1/2"X65MM | 200 | NOS | 3600 | S.KUNDU
3000028647 | 1312469 | NRV LIFT CHECK SS304 FE 1" 150# | 1 | NOS | 4261.25 | S.KUNDU
3000028647 | 1324215 | NRV LIFT CHECK SS304 FE 1.1/2" 150# | 1 | NOS | 5000 | S.KUNDU
3000028722 | 1312042 | VALVE BALL CS FE 150# | 4 | NOS | 3380 | S.KUNDU
3000028647 | 1312042 | VALVE BALL CS FE 150# | 1 | NOS | 845 | S.KUNDU
3000028722 | 1312039 | VALVE BALL CS FE 1" 150# | 6 | NOS | 7307.28 | S.KUNDU
3000028647 | 1312039 | VALVE BALL CS FE 1" 150# | 2 | NOS | 2435.76 | S.KUNDU
3000028647 | 1312071 | VALVE BALL SS A351 CF8 1/2" 150# | 4 | NOS | 11200 | S.KUNDU
3000028647 | 1312072 | VALVE BALL SS A351 CF8 FE 1" 150# | 6 | NOS | 18000 | S.KUNDU
3000028647 | 1312075 | VALVE BALL SS A351 GR.CF8 1.1/2" 150# | 3 | NOS | 12000 | S.KUNDU
3000028663 | 1309856 | REDUCER CONC SS304 3"X2" ERW SCH10 | 1 | NOS | 186 | S.KUNDU
3000028663 | 1309841 | REDUCER CONC SS304 1.1/2"X1" SMLS SCH40 | 1 | NOS | 135.2 | S.KUNDU
3000028717 | 1304673 | ELBOW CS 90D SW 1" 3000# | 20 | NOS | 1373 | S.KUNDU
3000028663 | 1304674 | ELBOW CS 90D SW 1.1/2" 3000# | 15 | NOS | 2305.8 | S.KUNDU
3000028663 | 1304671 | ELBOW CS 90D BW 2" | 10 | NOS | 2000 | S.KUNDU
3000028663 | 1304567 | ELBOW SS304 90D 1/2" SMLS SCH40 | 6 | NOS | 360 | S.KUNDU
3000028663 | 1304541 | ELBOW SS304 1.1/2" R=1.5D ERW SCH40 | 12 | NOS | 1673.28 | S.KUNDU
3000028663 | 1311464 | TEE EQUAL SS304 1.1/2" ERW SCH40S | 1 | NOS | 380 | S.KUNDU
3000028663 | 1306389 | FLANGE CS SWRF 1/2" 150# | 30 | NOS | 3000 | S.KUNDU
3000028717 | 1306389 | FLANGE CS SWRF 1/2" 150# | 10 | NOS | 1000 | S.KUNDU
3000028663 | 1314859 | FLANGE CS A105 SWRF 1.1/2" 150# | 4 | NOS | 640 | S.KUNDU
3000028663 | 1306308 | FLANGE CS A105 SORF 2" 150# | 2 | NOS | 460 | S.KUNDU
3000028663 | 1306213 | FLANGE GI SORF 1" 150# | 4 | NOS | 800 | S.KUNDU
3000028663 | 1306221 | FLANGE SS304 SORF 1.1/2" 150# | 16 | NOS | 6800 | S.KUNDU
3000028663 | 1306220 | FLANGE SS304 SORF 1" 150# | 20 | NOS | 5650 | S.KUNDU
3000028663 | 1306217 | FLANGE SS304 1/2" 150# | 18 | NOS | 2754 | S.KUNDU
3000028663 | 1316183 | COUPLING FULL, A-105, 3000#, 1/2" BSP | 20 | NOS | 1000 | S.KUNDU
3000028663 | 1305898 | COUPLING FULL CS SW 1" 3000# | 10 | NOS | 700 | S.KUNDU
3000028663 | 1305899 | COUPLING FULL CS SW 1.1/2" 3000# | 10 | NOS | 1000 | S.KUNDU
3000028647 | 1312490 | NRV SW CS 1" 800# | 2 | NOS | 3000 | S.KUNDU
3000028647 | 1321253 | STRAINER Y TYPE SS304 2" 150# | 1 | NOS | 7727 | S.KUNDU
3000028647 | 1310195 | STRAINER Y-TYPE SS304 FE 1.1/2" | 3 | NOS | 12000 | S.KUNDU
3000028663 | 1311525 | TEE SS304 1"X1" ERW SCH40 | 3 | NOS | 750 | S.KUNDU
3000028663 | 1311529 | TEE SS304 1.1/2"X1.1/2"X1/2" SCH40 | 2 | NOS | 400 | S.KUNDU
3000028461 | 1303363 | TUBE SS304 3/8" X 1/2" SEAMLESS | 220 | M | 35486 | S.KUNDU
3000028638 | 1308481 | PIPE CS IS1239 1.1/2" ERW CLASS HEAVY | 36 | M | 7560 | S.KUNDU
3000028638 | 1322264 | PIPE CS IS1239 2" ERW CLASS HEAVY | 30 | M | 6690 | S.KUNDU
3000028799 | 1315204 | PIPE CS IS1239 1" ERW CLASS HEAVY | 30 | M | 3180 | S.KUNDU
3000028638 | 1315205 | PIPE CS IS1239 1/2" ERW CLASS HEAVY | 84 | M | 7140 | S.KUNDU
3000028634 | 1308397 | PIPE SS304 2" ERW SCH10 | 36 | M | 25308 | S.KUNDU
3000028634 | 1315177 | PIPE SS304 1.1/2" ERW SCH40 | 30 | M | 23100 | S.KUNDU
3000028638 | 1308357 | PIPE GI IS1239 1" CLASS-C | 36 | M | 5220 | S.KUNDU
|  |  |  | Total cost INR | 512913.33