## Sheet1
Internal and Sion instrument used for Taloja Unit
STO No. | Line | Code | Description | Date | Qty. | Type | Status | Remarks | OBD | Dated
3400000966 | 10 | 1318460 | Control Valve 2" 150#(Hard oil batch sion) | 04.04.2014 | 1 | Stock Transfer | Released | Completed | 80052644 | 08.04.2014
3400000939 | 10 | 1302473 | THERMOWELL BARSTOCK S316 150MM BORE 7MM | 26.03.2014 | 2 | Stock Transfer | Released | completed | 80063712 | 13.06.2014
| 20 | 1302413 | RTD SENSOR PT100 200MM DIA 6 MM |  | 2
3400001238 | 10 | 1320048 | AC DRIVE 90KW 3PH AMTECH AXPERT VT240S | 23.06.2014 | 1 | Stock Transfer | Released | Completed | 80066040 | 26.06.2014
3400001368 | 10 | 1315603 | BLANKETING VALVE SPARE FOR SR.NO. 12821 | 26.07.2014 | 1 | Stock Transfer | Released | Completed | 80079502 | 12.09.2014
| 20 | 1315604 | BLANKETING VALVE SPARE FOR SR.NO. 16276 |  | 1 |  |  |  | 80079504
| 30 | 1315605 | BLANKETING VALVE SPARE FOR SR.NO. 16662 |  | 1 |  |  |  | 80079506
3400001816 | 10 | 1302721 | I/P CONVERTER MODEL-3311FISHER ROSEMOUNT | 03.12.2014 | 2 | Stock Transfer | Released | Completed | 80133662 | 28.06.2016
| 20 | 1303124 | PID CONTROLLER- MODEL 4300 OF BTC | 03.12.2014 | 1 | Stock Transfer | Released | Completed | 80196941 | 15.06.2016
| 30 | 1302219 | ABSOLUTE PRESSURE TRANSMITTER 0-20 | 03.12.2014 | 1 | Stock Transfer | Released | Completed | 80121275 | 13.05.2015
| 40 | 1302231 | PRESSURE TRANSMITTER 0-100 BAR-G | 03.12.2014 | 1 | Stock Transfer | Released | Completed | 80121300 | 13.05.2015
| 50 | 1302720 | I/P CONVERTER 4-20MA 3-15PSI,MOORE771-16 | 03.12.2014 | 1 | Stock Transfer | Released | Completed | 80133661 | 20.07.2015
| 60 | 1302851 | VALVE POSITIONER,SAMSON,MODEL NO.765 | 03.12.2014 | 1 | Stock Transfer | Released | Completed | 80196950 | 15.06.2016
| 70 | 1302852 | VALVE POSITIONER,SAMSON,MODEL765 W/O I/P | 03.12.2014 | 3 | Stock Transfer | Released | Completed | 80199672 | 28.06.2016
| 80 | 1303063 | REGULATOR AIR PRESSURE 1/4 BSP SHAVO | 03.12.2014 | 1 | Stock Transfer | Released | Completed | 80196954 | 15.06.2016
| 90 | 1302850 | VALVE POSITIONER,FISHER MAKE,SERIES 3660 | 03.12.2014 | 1 | Stock Transfer | Released | Completed | 80196972 | 15.06.2016
| 100 | 1302475 | THERMOWELL SS316 LENGTH 450MM DIA 6MM | 03.12.2014 | 4 | Stock Transfer | Released | Completed | 80196975 | 15.06.2016
| 110 | 1302522 | LEVEL RADAR -MEASURMENT SS316 MAX.3 | 03.12.2014 | 1 | Stock Transfer | Released | completed | 80178884 | 18.03.2016
| 120 | 1302421 | RTD SENSOR SHEATH 250MM DIA 6MM | 03.12.2014 | 1 | Stock Transfer | Released | Completed | 80196981 | 15.06.2016
| 130 | 1303126 | PID CONTROLLER[FOR PLODDER APPLICATION] | 03.12.2014 | 1 | Stock Transfer | Released | Completed | 80196985 | 15.06.2016
3400003932 | 10 | 1302361 | FLOW TRANS.-MASS FLOW METER-SIZE-1" | 05.03.2016 | 1 | Stock Transfer | Released | completed | 80178829 | 18.03.2016
3400003932 |  | 1302361 | FLOW TRANS.-MASS FLOW METER-SIZE-1" | 05.03.2016 | 1 |  |  |  | 80178832 | 18.03.2016