## Sheet1
| LAKSHYA 2016-17 FATY ACID | Total savings Potential for FY-2016-17 | Total savings Balanced for FY-2016-17 | April'16 | May'16 | June'16 | July'16 | Aug'16 | Sept'16 | Oct'16 | Nov'16 | Dec'16 | Jan'17 | Feb'17 | March'17 | Total
SR.NO |  | RS | RS
1 | FLAKER 24% increase production/day over present | 1064080.2136 | 795009.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 53204.31 | 63551.04 | 94366.16 | 26218.92 | 79489.3 | 316829.73
| TOTAL ON CHILLED WATER |  | production | production after modification | Actual production |  | after modification
NO OF DAYS | 102 | 24.48 | 3876 | 4896 | 3879 | 102.0789 | 80.8125 | 21.2664
Days saved | 77.52 | 179.52 | [5 empty] | 238864.7368
NO OF MANS for both flaker | 1627.92 | *3*7
savings total | 700005.6 | 430 rs per man
Note 7 Man considered as avg for both flakers
NOVEMBER.16
Flaker 1
Month | 2016-11-16
Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Actual Prod. | 0 | 0 | 0 | 0 | 0 | 0 | 11.375 | 23.725 | 24.3 | 23.4 | 5.8 | 0 | 0 | 7.2 | 21.6 | 23.4 | 15.3 | 18 | 23.4 | 26.1 | 11.9 | 0 | 0 | 8.1 | 26.1 | 27 | 27.9 | 26.6 | 24.3 | 21.6 | 397 | 397
Product | [6 empty] | UTSR | UTSR | UTSR | UTSR | UTSR |  |  | UTSR | UTSR | UTSR | UTSR | UTSR | UTSR | UTSR | UTSR |  |  | UTSR | UTSR | UTSR | UTSR | UTSR | UTSR | UTSR
Flaker 2
Actual Prod. | 0 | 29.4 | 29.1 | 0 | 0 | 24 | 16.025 | 0 | 0 | 0 | 0 | 0 | 0 | 12.6 | 19.4 | 7.2 | 36.6 | 35.7 | 0 | 0 | 6 | 39 | 32.125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 287 | 287
Product |  | UTSR | UTSR |  |  | Stearic 92 | Stearic 92 | [6 empty] | C14 99% | C14 99% | Stearic 92 | Stearic 92 | Stearic 92 |  |  | Stearic 92 | Stearic 92 | Stearic 92
Power | 20 | 181 | 202 | 77 | 49 | 189 | 386 | 306 | 250 | 222 | 107 | 70 | 34 | 175 | 338 | 270 | 295 | 316 | 264 | 235 | 214 | 254 | 232 | 226 | 542 | 488 | 504 | 526 | 512 | 511
TOTAL PRODUC | 0 | 29.4 | 29.1 | 0 | 0 | 24 | 27.4 | 23.725 | 24.3 | 23.4 | 5.8 | 0 | 0 | 19.8 | 41 | 30.6 | 51.9 | 53.7 | 23.4 | 26.1 | 17.9 | 39 | 32.125 | 8.1 | 26.1 | 27 | 27.9 | 26.6 | 24.3 | 21.6
OCTOBER.16
Flaker 1
Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Actual Prod. | 0 | 0 | 4.5 | 4.5 | 0 | 9 | 20.7 | 18.9 | 17.1 | 15.3 | 14.5 | 17.1 | 22.1 | 4.425 | 0 | 0 | 6.3 | 1.8 | 0 | 1.8 | 15.3 | 18 | 18.9 | 19.8 | 15.3 | 20.9 | 18.45 | 1.8 | 0 | 0 | 0 | 286.7
Product |  |  | UTSR | UTSR |  | UTSR | UTSR | UTSR | UTSR | UTSR | UTSR | UTSR | UTSR | UTSR |  |  | UTSR | UTSR |  | UTSR | UTSR | UTSR | UTSR | UTSR | UTSR | UTSR | UTSR | UTSR
Flaker 2
Actual Prod. | 0 | 15 | 41.4 | 33.3/ 10.7 | 19.8/ 22.22 | 13.75/ 21.475 | 5.4 | 33.85 | 32.1 | 31.5 | 31.5 | 23.7 | 3 | 34.2 | 34.8 | 21 | 0 | 0 | 0 | 5.4 | 31.8 | 34.2 | 6.3 | 19 | 34 | 25 | 0 | 41.775 | 0 | 0 | 0 | 615
Product |  | UTSR | UTSR | UTSR/Palmitic beads | UTSR/Palmitic beads | UTSR/Palmitic beads | UTSR | UTSR | UTSR | UTSR | UTSR | UTSR | Stearic 92% | Stearic 92% | Stearic 92% | Stearic 92% |  |  |  | UTSR | UTSR | UTSR | UTSR | Behenic acid | Behenic acid | Behenic acid | UTSR | UTSR
Power | 92 | 482 | 1050 | 923 | 869 | 866 | 860 | 1155 | 904 | 982 | 969 | 932 | 780 | 890 | 968 | 539 | 453 | 235 | 719 | 358 | 534 | 979 | 739 | 849 | 780 | 729 | 822 | 336 | 17 | 20 | 20
TOTAL PRODUC | 0 | 15 | 45.9 | 48.5 | 42.02 | 44.225 | 26.1 | 52.75 | 49.2 | 46.8 | 46 | 40.8 | 25.1 | 38.625 | 34.8 | 21 | 6.3 | 1.8 | 0 | 7.2 | 47.1 | 52.2 | 25.2 | 38.8 | 49.3 | 45.9 | 18.45 | 43.575 | 0 | 0 | 0
[10 empty] | On Chiller | [5 empty] | On Colling Tower |  |  |  |  | difference |  | no of days run |  | Power saved |  | Rs. Saved |  | NO of Man days
Observations | Power | with chiller |  |  | without chiller |  |  |  |  | flaker | 1 | 220 | 8-11 th nov |  |  | flaker | 1 | 514 |  |  | 294 |  | 5 |  | 1470 |  | 8511.3
Only Flaker 1 | [9 empty] | flaker | 2 | 243 | 22-23 th nov |  |  | flaker | 2 | 860 |  |  | 617 |  | 5 |  | 3085 |  | 17862.15
[10 empty] | both Flaker | 1,2 | 278 | 14-18th nov |  |  | both Flaker | 1,2 | 940 |  |  | 662 |  | 7 |  | 4634 |  | 26830.86
53204.31
DECEMBER.16
Flaker 1
Month | 2016-11-16
Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Actual Prod. | 23.9 | 14.4 | 18 | 24.3 | 9 | 2.7 | 28.6 | 27 | 29.7 | 27.9 | 17.25 | 0 | 0 | 22.5 | 27 | 26.1 | 25.2 | 25.2 | 27 | 27 | 16.2 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1 | 22.5 | 22.5 | 13.32 | 485.37
Product | UTSR | UTSR | UTSR | UTSR | UTSR | UTSR | UTSR | UTSR | UTSR | UTSR | UTSR |  |  | UTSR | UTSR | UTSR | UTSR | UTSR | UTSR | UTSR | UTSR | [6 empty] | UTSR | UTSR | UTSR | UTSR
Flaker 2
Actual Prod. | 0 | 0 | 0 | 0 | 15 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.4 | 6.25 | 12.95 | 19.2 | 16.8 | 9.2 | 120.8
Product |  |  |  |  | C14 99% | C14 99% | [19 empty] | C14 99% | C14 99% | C14 99% | C14 99% | C14 99% | C14 99%
Power | 492 | 345 | 415 | 489 | 663 | 297 | 211 | 230 | 213 | 202 | 162 | 37 | 50 | 199 | 198 | 412 | 481 | 494 | 543 | 295 | 157 | 50 | 58 | 68 | 58 | 145 | 116 | 222 | 280 | 307 | 307
TOTAL PRODUC | 23.9 | 14.4 | 18 | 24.3 | 24 | 32.7 | 28.6 | 27 | 29.7 | 27.9 | 17.25 | 0 | 0 | 22.5 | 27 | 26.1 | 25.2 | 25.2 | 27 | 27 | 16.2 | 0 | 0 | 0 | 0 | 11.4 | 6.25 | 21.05 | 41.7 | 39.3 | 22.52
[10 empty] | On Chiller | [5 empty] | On Colling Tower |  |  |  |  | difference |  | no of days run |  | Power saved |  | Rs. Saved |  | NO of Man days
[10 empty] | flaker | 1 | 325 |  |  |  | flaker | 1 | 514 |  |  | 189 |  | 21 |  | 3969 |  | 27227.34
[10 empty] | flaker | 2 | 130.25 |  |  |  | flaker | 2 | 860 |  |  | 729.75 |  | 4 |  | 2919 |  | 20024.34
[10 empty] | both Flaker | 1,2 | 346 |  |  |  | both Flaker | 1,2 | 940 |  |  | 594 |  | 4 |  | 2376 |  | 16299.36
63551.04
January'17
Flaker 1
Month | 2016-11-16
Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Actual Prod. | 0 | 0 | 0 | 0 | 0 | 11.7 | 29.9 | 28.8 | 21.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92
Product | [5 empty] | UTSR | UTSR | UTSR | UTSR
Flaker 2
Actual Prod. | 0 | 7.2 | 22.2 | 19.2 | 6.325 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.2 | 34.2 | 33.6 | 17.375/ 15.3 | 50.4 | 42.3 | 46.18 | 27.9 | 43.2 | 9 | 0 | 19.2 | 39 | 38.2 | 39 | 33.3 | 0 | 0 | 515
Product |  | C14 99% | C14 99% | C14 99% | C14 99% | [8 empty] | Stearic 92% | Stearic 92% | Stearic 92% | Stearic 92%/UTSR | UTSR | UTSR | UTSR | UTSR | UTSR | UTSR |  | Stearic 92% | Stearic 92% | Stearic 92% | Stearic 92% | Stearic 92%
Power | 231 | 111 | 216 | 262 | 72 | 179 | 207 | 209 | 169 | 80 | 104 | 48 | 75 | 135 | 218 | 260 | 207 | 251 | 239 | 257 | 184 | 232 | 88 | 86 | 150 | 241 | 266 | 248 | 201 | 63 | 0
TOTAL PRODUC | 0 | 7.2 | 22.2 | 19.2 | 6.325 | 11.7 | 29.9 | 28.8 | 21.65 | 0 | 0 | 0 | 0 | 4.2 | 34.2 | 33.6 | 32.675 | 50.4 | 42.3 | 46.18 | 27.9 | 43.2 | 9 | 0 | 19.2 | 39 | 38.2 | 39 | 33.3 | 0 | 0
[10 empty] | On Chiller | [5 empty] | On Colling Tower |  |  |  |  | difference |  | no of days run |  | Power saved |  | Rs. Saved |  | NO of Man days
[10 empty] | flaker | 1 | 191 |  |  |  | flaker | 1 | 514 |  |  | 323 |  | 4 |  | 1292 |  | 8863.12
[10 empty] | flaker | 2 | 204 |  |  |  | flaker | 2 | 860 |  |  | 656 |  | 19 |  | 12464 |  | 85503.04
[10 empty] | both Flaker | 1,2 | 0 |  |  |  | both Flaker | 1,2 | 940 |  |  | 940 |  | 0 |  | 0 |  | 0
94366.16
February'17
Flaker 1
Month | Feb.17
Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28
Actual Prod.
Product
Flaker 2
Actual Prod. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.7 | 45.9 | 24.3 | 45.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.3 | 35.925 |  |  |  | 179
Product
Power | [14 empty] | 65 | 326 | 108 | 348 | [8 empty] | 195 | 297
TOTAL PRODUC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.7 | 45.9 | 24.3 | 45.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.3 | 35.925 | 0 | 0 | 0
[10 empty] | On Chiller | [5 empty] | On Colling Tower |  |  |  |  | difference |  | no of days run |  | Power saved |  | Rs. Saved |  | NO of Man days
[10 empty] | flaker | 1 |  |  |  |  | flaker | 1 | 514 |  |  | 514 |  |  |  | 0 |  | 0
[10 empty] | flaker | 2 | 223 |  |  |  | flaker | 2 | 860 |  |  | 637 |  | 6 |  | 3822 |  | 26218.92
[10 empty] | both Flaker | 1,2 |  |  |  |  | both Flaker | 1,2 | 940 |  |  | 940 |  |  |  | 0 |  | 0
26218.92
March.17
Flaker 1
Month | Feb.17
Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Actual Prod. | 19.8 | 21.6 | 7.2 | 0 | 0 | 0 | 0 | 0 | 26.1 | 33.3 | 31.8 | 23.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6 | 20.5 | 27 | 21.6 | 26.1 | 26.275 | 0 | 0 | 0 | 0 | 0 | 0 | 288.7
Product
Flaker 2
Actual Prod. | 37.575 | 43.2 | 31.5 | 0 | 0 | 15 | 22.75 | 15.65 | 22.125 | 21.87 | 18 | 20.95 | 0 | 9.275 | 21.475 | 7.05 | 20.475 | 21.9 | 41.5 | 44.555 | 29.275 | 12.8 | 20.575 | 21.65 | 15.625 | 0 | 0 | 1.8 | 39.6 | 40.5 | 15.92 | 612.59
Product
Power | 508 | 319 | 223 | 83 | 44 | 89 | 101 | 39 | 265 | 278 | 267 | 187 | 75 | 58 | 100 | 127 | 102 | 73 | 195 | 341 | 343 | 304 | 258 | 298 | 263 | 81 | 47 | 43 | 100 | 377 | 185
TOTAL PRODUC | 57.375 | 64.8 | 38.7 | 0 | 0 | 15 | 22.75 | 15.65 | 48.225 | 55.17 | 49.8 | 44.35 | 0 | 9.275 | 21.475 | 7.05 | 20.475 | 21.9 | 41.5 | 48.155 | 49.775 | 39.8 | 42.175 | 47.75 | 41.9 | 0 | 0 | 1.8 | 39.6 | 40.5 | 15.92
[10 empty] | On Chiller | [5 empty] | On Colling Tower |  |  |  |  | difference |  | no of days run |  | Power saved |  | Rs. Saved |  | NO of Man days
[10 empty] | flaker | 1 | 0 |  |  |  | flaker | 1 | 514 |  |  | 514 |  | 8 |  | 4112 |  | 26111.2 | 6.35
[10 empty] | flaker | 2 | 135 |  |  |  | flaker | 2 | 860 |  |  | 725 |  | 6 |  | 4350 |  | 27622.5 | 6.35
[10 empty] | both Flaker | 1,2 | 628 |  |  |  | both Flaker | 1,2 | 940 |  |  | 312 |  | 13 |  | 4056 |  | 25755.6 | 6.35
79489.3