## Sheet1
Internal and Sion instrument used for Taloja Unit
STO No. | Line | Code | Description | Qty. | Rs. | Type | Status | Remarks | OBD | Dated
3400001816 | 10 | 1302721 | I/P CONVERTER MODEL-3311FISHER ROSEMOUNT | 2 | 35000 | Stock Transfer | Released | Completed | 80133662 | 28.06.2016
| 20 | 1303124 | PID CONTROLLER- MODEL 4300 OF BTC | 1 | 20000 | Stock Transfer | Released | Completed | 80196941 | 15.06.2016
| 30 | 1302219 | ABSOLUTE PRESSURE TRANSMITTER 0-20 | 1 | 56000 | Stock Transfer | Released | Completed | 80121275 | 13.05.2015
| 40 | 1302231 | PRESSURE TRANSMITTER 0-100 BAR-G | 1 | 50000 | Stock Transfer | Released | Completed | 80121300 | 13.05.2015
| 50 | 1302720 | I/P CONVERTER 4-20MA 3-15PSI,MOORE771-16 | 1 | 25000 | Stock Transfer | Released | Completed | 80133661 | 20.07.2015
| 60 | 1302851 | VALVE POSITIONER,SAMSON,MODEL NO.765 | 1 | 29000 | Stock Transfer | Released | Completed | 80196950 | 15.06.2016
| 70 | 1302852 | VALVE POSITIONER,SAMSON,MODEL765 W/O I/P | 3 | 32000 | Stock Transfer | Released | Completed | 80199672 | 28.06.2016
| 80 | 1303063 | REGULATOR AIR PRESSURE 1/4 BSP SHAVO | 1 | 2500 | Stock Transfer | Released | Completed | 80196954 | 15.06.2016
| 90 | 1302850 | VALVE POSITIONER,FISHER MAKE,SERIES 3660 | 1 | 35000 | Stock Transfer | Released | Completed | 80196972 | 15.06.2016
| 100 | 1302475 | THERMOWELL SS316 LENGTH 450MM DIA 6MM | 4 | 2500 | Stock Transfer | Released | Completed | 80196975 | 15.06.2016
| 110 | 1302522 | LEVEL RADAR -MEASURMENT SS316 MAX.3 | 1 | 120000 | Stock Transfer | Released | completed | 80178884 | 18.03.2016
| 120 | 1302421 | RTD SENSOR SHEATH 250MM DIA 6MM | 1 | 4500 | Stock Transfer | Released | Completed | 80196981 | 15.06.2016
| 130 | 1303126 | PID CONTROLLER[FOR PLODDER APPLICATION] | 1 | 12000 | Stock Transfer | Released | Completed | 80196985 | 15.06.2016
3400003932 | 10 | 1302361 | FLOW TRANS.-MASS FLOW METER-SIZE-1" | 1 | 250000 | Stock Transfer | Released | completed | 80178829 | 18.03.2016
3400003932 |  | 1302361 | FLOW TRANS.-MASS FLOW METER-SIZE-1" | 1 | 250000 |  |  |  | 80178832 | 18.03.2016
TOTAL AMOUNT (Rs.) |  |  |  |  | 923500