## backup paper
KPI-2== | Reduction in downtime due to instrument.
Last year-69 hrs,Target-59 hrs
Actual downtime:23.0 hrs
Reduction in downtime by 67 % by closely monitoring the Instrument performance,data analysis,PM,CM.
1 | 21/07/2016 | JULY'2016 | FATTY ACID DISTILLATION | LCV-3401 | LCV 3401 C-302 B/P transferring control valve malfunctioning. | 21/07/2016 | 3 | HRS
2 | 28/07/2016 | JULY'2016 | FATTY ACID SPLITTING | PCV-C101 | Jutasama column Pressure control valve(PCV-C101) leakage from flange gasket. | 28/07/2016 | 7.34 | HRS
3 | 05/08/2016 | AUGUST'2016 | H2 LINDE | FT-205 | H2 Linde Tail Gas FT reading goes over-range | 5/8/2016 @ 21:42 HRS | 5.65 | HRS
4 | 16/8/2016 | AUGUST'2016 | FATTY ACID DISTILLATION | FT-201 | C-401 Column L/E mass flowmeter(FT-201) flange gasket leak | 16/8/2016 | 1.88 | HRS
5 | 05/3/2017 | MARCH'2017 | FATTY ACID DISTILLATION | FT-201 | C-401 Column L/E mass flowmeter(FT-201) inlet side flange gasket leak. | 05/3/2017 | 4 | HRS
6 | 16/3/2017 | MARCH'2017 | FATTY ALCOHOL | XV-02013 | 02G3 Motorised valve problem(XV-02013) | 16/3/2017 | 1 | HRS
22.87
Note on H7: C302 B/P CV PROBLEM
Note on H8: Column PCV flange outlet gasket found leak--P/D MENTIONED SAME DOWNTIME UNDER BREAKDOWN.
Note on H9: Linde H2 Plant tripp
Note on H10: C-401 L/E mass flowmeter gasket leak
Note on H11: C-401 L/E mass flowmeter gasket leak
Note on H12: alcoholcontrolroom taloja: 02G3 Motorised valve problem