## backup paper
KPI-2== | Reduction in downtime due to instrument.
Reduction in downtime by 64 % by closely monitoring the Instrument performance,data analysis,PM,CM.
1 | 21/07/2016 | JULY'2016 | FATTY ACID DISTILLATION | LCV-3401 | LCV 3401 C-302 B/P transferring control valve malfunctioning. | 21/07/2016 | 3 | HRS
4 | 16/8/2016 | AUGUST'2016 | FATTY ACID DISTILLATION | FT-201 | C-401 Column L/E mass flowmeter(FT-201) flange gasket leak | 16/8/2016 | 1.88 | HRS
5 | 05/3/2017 | MARCH'2017 | FATTY ACID DISTILLATION | FT-201 | C-401 Column L/E mass flowmeter(FT-201) inlet side flange gasket leak. | 05/3/2017 | 4 | HRS
[7 empty] | 8.88 | 9.0 HRS
Note on H7: C302 B/P CV PROBLEM
Note on H8: C-401 L/E mass flowmeter gasket leak
Note on H9: C-401 L/E mass flowmeter gasket leak