## Sheet1
Sr no | Project | Tag No | Type of Inst | Description | Service | Qty | unit | Appox. cost | Remark
1 | Beads Project | CV-1603 | Control valve | T-1602 hot water tank temp control | LPS | 1 | Nos | 55000 | Saponification control vale is used from taloja Project store
2 | Beads Project | LSH-Hopper | Level switch | Beads Hopper level switch | Beads | 1 | Nos | 65000
3 | Beads Project |  | Air Header-10 way |  |  | 1 |  | 8000
4 | Beads Project |  | Cable Tray |  |  | 100 | Mtr | 18000 | Old cable tray used of new Plots (appox. Qty)
5 | Beads Project |  | Muticore cable 48 core |  |  | 66 | Mtr | 25080 | Old cable lengths meggered checked & used
6 | Beads Project |  | Muticore cable 12 pair |  |  | 143 | Mtr | 50050 | Old cable lengths meggered checked & used
7 | Bitumin Project | PT-1001 | Pressure Transmitter | Discharge of Pump-101B | Bitumin | 1 | Nos | 40000
8 | Bitumin Project | LT-1001 | Level Transmitter | Level of Tank-7 | Bitumin | 1 | Nos | 230000
9 | Bitumin Project | XV-101 | Flow Transmitter | ON off valve Before loading arm | Bitumin | 1 | Nos | 110000
10 | Bitumin Project | TT-Trolley | Temp Transmitter |  | Bitumin | 1 | Nos | 55000
11
12 | Bitumin Project |  | Junction Box |  | NA | 3 | Nos | 20000
13 | Bitumin Project |  | Cable Gland |  | NA | 1 | Lot | 5000
14 | Bitumin Project | TG-1003 | Temp. gauge | Tanker loading line | MPS | 1 | Nos | 7000
[7 empty] | Total | 688130 | Total cost saving by using store inventory
[8 empty] | 1311600 | Total Budget of Bitumin
[8 empty] | 666500 | total Budget of Beads (4,37,500 + 229000)
[8 empty] | 1978100 | Total Budget
[5 empty] | % of inventory used against cost |  |  |  | 34%