## 09.04.2016
DATE: 09.04.2016 |  |  | Initial Totalizer | 436.24 T/Hr
First we applied standard weight at centre of LOAD Cell.
Weights(Kg) | On display | Difference
8.2 | 7.96 | 0.24
16.4 | 16.09 | 0.31
ZERO & SPAN Calibration as per procedure
Date | Time | Zero Deviation | Span Deviation | Old Deviation
09.04.2016 | 10.40 AM | 0.84% (703695) |  | 703455
09.04.2016 | 10.50 AM |  | -0.08% (28396) | 28410
Now applied standard weights at Load Cell after stop BC-4
Weights(Kg) | On display | Difference
8.2 | 7.79 | 0.41
16.4 | 15.95 | 0.45
Again followed ZERO & SPAN calibration
Date | Time | Zero Deviation | Span Deviation | Old Deviation
09.04.2016 | 11.25 AM | 0.00% (703588) |  | 703455
09.04.2016 | 10.40 AM |  | 0.05% (28411) | 28410
Now applied standard weights at Load Cell after stop BC-4
Weights(Kg) | On display | Difference
8.2 | 8.17 | 0.03
16.4 | 16.37 | 0.03
Now run conveyor with both weights
Feed rate | 50 T/hr
Totalizer | 444.48 T/Hr
After 7.30 Minutes
Feed rate | 50 T/hr
Totalizer | 450.58 T/Hr
Diffence on Totalizer | 6.1 | T/Hr
Expected Feed | 2.0333 | T/Hr