## Sheet1
ACID STRIPPER PLANT ELECTRICAL AUDIT 31.03.2016
Sr. No. | Description of observation | Remark
1 | Cable dressing required near P-651C LCS | Completed
2 | Cable roll kept near P-651A LCS | Completed
3 | P-966 NFLP LCS installed
4 | Emergency lights W/G Fitting not in operation and having 110v incandesent lamp. Rectification required. | Completed
5 | W/G fitting condition is poor near 01G19B, replacement required. | Completed
6 | Cable tray support painting required in plant. | Completed
7 | Spare motor canopy kept is floor. | Completed
8 | III rd floor old mcp to be remove. | Completed
9 | Electrical single and three phase socket overhauling required in plant. | Completed
10 | 4th floor one no. W/G fitting condition is poor. | Completed
11 | One extra motor canopy size 225 kept in 4th floor. Use whereever required. | Completed
12 | 4th & 5th floor cable dressing required. | Completed
13 | 5th floor W/G fitting glass absent.replacement required. | Completed